| Renewable Energy Generating System Annexure-I (Commissioning Report for RE System) |  |  |
| --- | --- | --- |
| SNo. | Particulars | As Commissioned |
| 1 | Name of the Consumer | Shri Sanjay Kumar Jijabrao Deshmukh |
| 2 | Consumer Number | 119760113503 |
| 3 | Mobile Number | 9860146641 |
| 4 | E-mail | siddharthdeshmukh928@gmail.com |
| 5 | Address of Installation | Gajanan Construction Chalisgaon - 424101 |
| 6 | RE Arrangement Type | Net Metering Arrangement |
| 7 | RE Source | Solar |
| 8 | Sanctioned Capacity(KW) | 3 |
| 9 | Capacity Type | Rooftop |
| 10 | Project Model | Capex |
| 11 | RE installed Capacity(Rooftop)(KW) | 3 |
| 12 | RE installed Capacity(Rooftop + Ground)(KW) | NA |
| 13 | RE installed Capacity(Ground)(KW) | NA |
| - Installation date - SolarPV Details Inverter Capacity(KW) Inverter Make No .of PV Modules Module Capacity (KW) |  | 25-03-2025 5.3 UTL 6 525 |

Proforma-A

COMMISSIONING REPORT (PROVISIONAL) FOR GRID CONNECTED SOLAR

PHOTOVOLTAIC POWER PLANT (with Net-metering facility)

Certified that a Grid Connected SPV Power Plant of 3 KWp capacity has been installed at the site Chalisgaon

District Jalgaon of MAHARASHTRA which has been installed by M/S Rajlaxmi Agency on 25-03-2025 The system is as per BIS/MNRE specifications. The system has been checked for its performance and found in order for further commissioning.

Signature of the beneficiary	Signature of the agency with name, seal and

date